## Input data
Name of Facility: | [6 empty] | Assessment Date:
Name of Assessors:
Brief Summary of Green Assessment:
INSTRUCTIONS: INSERT THE NUMBER "1" INTO THE ANSWER CELL FOR EACH QUESTION TO CALCULATE THE GREEN SCORE. INSERT COMMENTS.
Cells highlighted in Yellow are critical standard questions, which must be met by the facility in order for it to be certified as Green.
Theme | Title | Question/Intent |  | Answer |  |  | Comments | Question Weight | Score achieved | Contribution To Total Points | Institutional type (Referral Hospital, District Healthcare, Poly Clinic; Health Center; Nursing Home; Psychiatric Hospital) | [5 empty] | Critical Standard
|  |  |  | NA | YES | NO |  |  |  |  | RH | DH | PC | HC | NH | PH
1. Water | 1.1 | 1 | Does the facility implement a water conservation plan? (please provide copy of plan) |  |  |  |  | 1 | 0 | 1 | X | X | X | X | X | X | X
|  | 2 | Is plan updated regularly? |  |  |  |  | 1 | 0 | 1 | X | X | X | X | X | X
| Water Conservation Planning | 3 | Do you educate and involve staff in water conservation? |  |  |  |  | 2 | 0 | 2 | X | X | X | X | X | X
|  | 4 | Do you have water meters throughout the facility (please provide meter readings) |  |  |  |  | 2 | 0 | 2 | X | X | X | X | X | X | X
|  | 5 | Are drawings available that show all water using sources (bathrooms, sinks, washing machines, HVAC, cooling, sterilizers)? Please provide copies to evaluators. |  |  |  |  | 2 | 0 | 2 | X | X | X | X | X | X
| 1.2 | 6 | Are low-volume water fixtures installed throughout the facility? |  |  |  |  | 3 | 0 | 3 | X | X | X | X | X | X | X
|  | 7 | Do you actively detect leaks... |  |  |  |  | 1 | 0 | 1 | X | X | X | X | X | X
|  | 8 | and repair them immediately? |  |  |  |  | 1 | 0 | 1 | X | X | X | X | X | X
| Water | 9 | Does the facility use water efficient washing machines and dishwashers? |  |  |  |  | 2 | 0 | 2 | X | X | X | X | X | X
| Efficiency | 10 | Do you use water efficient sterilizers? |  |  |  |  | 2 | 0 | 2 | X | X | X | X | X | X | X
|  | 11 | Do you recycle steam condensate? |  |  |  |  | 2 | 0 | 2 | X
|  | 12 | Do you have a rainwater catchment system? |  |  |  |  | 2 | 0 | 2 | X | X | X | X | X | X | X
|  | 13 | Does it include anti-mosquito breeding measures? |  |  |  |  | 1 | 0 | 1 | X | X | X | X | X | X | X
|  | 14 | Is vehicular fleet washed only when necessary? |  |  |  |  | 1 | 0 | 1 | X | X | X | X | X | X
|  | 15 | Do maintenance personnel sweep instead of hosing down driveways, sidewalks and parking lots? |  |  |  |  | 2 | 0 | 2 | X | X | X | X | X | X
|  | 16 | Do you practice water-efficient landscaping (Xeriscaping)? |  |  |  |  | 2 | 0 | 2 | X | X | X | X | X | X
| 1.3 Wastewater | 17 | Is used water treated and reclaimed? |  |  |  |  | 2 | 0 | 2 | X | X | X | X | X | X
POINTS ACHIEVED IN SECTION 1 = | [7 empty] | 0
Maximum Points Achievable in Section 1 (includes referral Hospitals) = 29. ACTUAL TOTAL POINTS BASED ON APPLICABLE QUESTIONS = | [7 empty] | 29
Theme | Title | Question/Intent |  | Answer |  |  | Comments | Question Weight | Score achieved | Contribution To Total Points | Institutional type (Referral Hospital, District Healthcare, Poly Clinic; Health Center; Nursing Home; Psychiatric Hospital) | [5 empty] | Critical Standard
|  |  |  | NA | YES | NO |  |  |  |  | RH | DH | PC | HC | NH | PH
2. Energy | 2.1 Energy Audit | 18 | Does the facility implement an energy conservation plan? (please provide a copy of the plan) |  |  |  |  | 3 | 0 | 3 | X | X | X | X | X | X | X
|  | 19 | Is plan updated regularly? |  |  |  |  | 1 | 0 | 1
|  | 20 | Has an energy audit been carried out in the past 5 years? If so, please provide a copy to the evaluators |  |  |  |  | 4 | 0 | 4 | X | X | X | X | X | X | X
| 2.2 Renewable Energy | 21 | Do you use solar voltaic panels or other type of renewable energy such as wind? |  |  |  |  | 4 | 0 | 4 | X | X | X | X | X | X
|  | 22 | Do you use solar water heaters? |  |  |  |  | 4 | 0 | 4 | X | X | X | X | X | X | X
| 2.3 Energy Efficiency | 23 | Do you use low energy lighting systems (LED)? |  |  |  |  | 3 | 0 | 3 | X | X | X | X | X | X
|  | 24 | Do you use high energy efficient HVAC systems and inverter type AC Split systems? |  |  |  |  | 3 | 0 | 3 | X | X | X | X | X | X
|  | 25 | Are equipment and appliances energy-efficient rated (US/EU standards)? |  |  |  |  | 3 | 0 | 3 | X | X | X | X | X | X
|  | 26 | Do you utilize daylight to ensure adequate lighting in work areas while eliminating direct sunlight? |  |  |  |  | 3 | 0 | 3 | X | X | X | X | X | X
|  | 27 | Does the facility have light sensors and occupancy sensors in staff and patient areas? |  |  |  |  | 2 | 0 | 2 | X | X | X | X | X | X
POINTS ACHIEVED IN SECTION 2 = | [7 empty] | 0
Maximum Points Achievable in Section 2 (includes referral Hospitals) = 30. ACTUAL TOTAL POINTS BASED ON APPLICABLE QUESTIONS = | [7 empty] | 30
3. Atmosphere | 3.1 | 28 | Have you replaced (or phased out) any devices that contain chlorofluorocarbons (CFC)? |  |  |  |  | 3 | 0 | 3 | X | X | X | X | X | X
| Refrigerants | 29 | Is your equipment serviced by a professional at least annually to reduce leakage/release into the atmosphere? |  |  |  |  | 3 | 0 | 3 | X | X | X | X | X | X
POINTS ACHIEVED IN SECTION 3 = | [7 empty] | 0
Maximum Points Achievable in Section 3 (includes referral Hospitals) = 6. ACTUAL TOTAL POINTS BASED ON APPLICABLE QUESTIONS = | [7 empty] | 6
4. Indoor Environmental Quality | 4.1 Tobacco Smoke | 30 | Is the facility a smoke free environment and clearly indicated as such? |  |  |  |  | 2 | 0 | 2 | X | X | X | X | X | X | X
| 4.2 | 31 | Is there adequate ventilation (windows and doors) that takes full advantage of the prevailing North-East Trade Winds? |  |  |  |  | 3 | 0 | 3 | X | X | X | X | X | X
| Ventilation | 32 | Is air quality (Temperature and humidity) assessed regularly? Please provide report/results to the evaluators. |  |  |  |  | 2 | 0 | 2 | X | X | X | X | X | X
| 4.3 Dust/Particulate Control | 33 | Are entryway grills or mats able to capture dirt and particulates brought in from outside the facility? |  |  |  |  | 1 | 0 | 1 | X | X | X | X | X | X
[9 empty] | 0 | 0
POINTS ACHIEVED IN SECTION 4 = | [7 empty] | 0
Maximum Points Achievable in Section 3 (includes referral Hospitals) = 8. ACTUAL TOTAL POINTS BASED ON APPLICABLE QUESTIONS = | [7 empty] | 8
Theme | Title | Question/Intent |  | Answer |  |  | Comments | Question Weight | Score achieved | Contribution To Total Points | Institutional type (Referral Hospital, District Healthcare, Poly Clinic; Health Center; Nursing Home; Psychiatric Hospital) | [5 empty] | Critical Standard
|  |  |  | NA | YES | NO |  |  |  |  | RH | DH | PC | HC | NH | PH
5. Hazardous Materials | 5.1 Mercury Elimination | 34 | Have you replaced or phased out mercury-containing medical devices, substances and reagents? |  |  |  |  | 3 | 0 | 3 | X | X | X | X | X | X | X
[9 empty] | 0 | 0
| 5.2 Pest Control | 35 | Does the facility apply an Integrated Pest Management program, with minimal use and safe application of hazardous chemicals applied by a trained professional on a regular basis? Please provide report/viisit log to evaluators |  |  |  |  | 2 | 0 | 2 | X | X | X | X | X | X
POINTS ACHIEVED IN SECTION 5 = | [7 empty] | 0
Maximum Points Achievable in Section 5 (includes referral Hospitals) = 5. ACTUAL TOTAL POINTS BASED ON APPLICABLE QUESTIONS = | [7 empty] | 5
6. Pharmaceuticals | 6.1 Pharmaceutical Minimization | 36 | Does the facility have established procedures for procuring, |  |  |  |  | 1 | 0 | 1 | X | X | X | X | X | X | X
|  | 37 | storing, |  |  |  |  | 1 | 0 | 1 | X | X | X | X | X | X
|  | 38 | dispensing, |  |  |  |  | 1 | 0 | 1 | X | X | X | X | X | X
|  | 39 | and proper disposal of pharmaceuticals? |  |  |  |  | 1 | 0 | 1 | X | X | X | X | X | X
POINTS ACHIEVED IN SECTION 6 = | [7 empty] | 0
Maximum Points Achievable in Section 6 (includes referral Hospitals) = 4. ACTUAL TOTAL POINTS BASED ON APPLICABLE QUESTIONS = | [7 empty] | 4
7. Food Services | 7.1 | 40 | Do you procure food from local sources? |  |  |  |  | 3 | 0 | 3 | X | X | X | X | X | X | X
| Local/Regional Foods | 41 | Have you established ways to reduce food waste? |  |  |  |  | 3 | 0 | 3 | X | X | X | X | X | X
POINTS ACHIEVED IN SECTION 7 = | [7 empty] | 0
Maximum Points Achievable in Section 7 (includes referral Hospitals) = 6. ACTUAL TOTAL POINTS BASED ON APPLICABLE QUESTIONS = | [7 empty] | 6
8 Solid and Infectious Waste Managment | 8.1 Waste Minimization | 42 | Do you practice waste minimization at source including pharmaceuticals? |  |  |  |  | 3 | 0 | 3 | X | X | X | X | X | X
| 8.2 Infections Waste | 43 | Have you procedures and established practices to separate medical from non medical waste? |  |  |  |  | 3 | 0 | 3 | X | X | X | X | X | X | X
| 8.3 Reduce, Reuse, Recycle | 44 | Do you use biodegradable products like paper, cardboard and plant-based products instead of plastics and Styrofoam? |  |  |  |  | 3 | 0 | 3 | X | X | X | X | X | X
[9 empty] | 0 | 0
|  | 45 | Do you recycle wastes, including plastic; composting biodegradables; donating food waste to farmers? |  |  |  |  | 3 | 0 | 3 | X | X | X | X | X | X
POINTS ACHIEVED IN SECTION 8 = | [7 empty] | 0
Maximum Points Achievable in Section 8 (includes referral Hospitals) = 12. ACTUAL TOTAL POINTS BASED ON APPLICABLE QUESTIONS = | [7 empty] | 12
TOTAL MAXIMUM POINTS AVAILABLE = 100. ACTUAL TOTAL MAXIMUM POINTS BASED ON APPLICABLE QUESTIONS = | [7 empty] | 100
TOTAL POINTS ACHIEVED | [7 empty] | 0
MINIMUM TOTAL POINTS NEEDED FOR CERTIFICATION (MINIMUM = 70%) = | [7 empty] | 70
ACTUAL % RATING ACHIEVED FOR THIS FACILITY = Totatl Actual Points Achieved / Actual Total Maximum Points = | [7 empty] | 0%
Items are essentials

## Results
Category | Points Available | Points Attained
Water | 29 | 0
Energy | 30 | 0
Atmosphere | 6 | 0
Indoor Environmental Quality | 8 | 0
Hazardous Materials | 5 | 0
Pharmaceuticals | 4 | 0
Food Services | 6 | 0
Solid and Infectious Waste Management | 12 | 0
Total Points |  | Green Points
Max. possible points available | Actual total points | Min. required | Actual
100 | 100 | 70 | 0