## Alternative Input data
Name of Facility: | [6 empty] | Assessment Date:
Name of Assessors:
Brief Summary of Green Assessment: | Use the seven headings and indicate the overall findings for each heading
INSERT THE NUMBER "1" INTO THE ANSWER CELL FOR EACH QUESTION TO CALCULATE THE GREEN SCORE. INSERT COMMENTS.
Theme | Title | Question/Intent |  | Answer |  |  | Comments | Question Weight | Score achieved
|  |  |  | NA | YES | NO
Documentation | 1.1 | 1 | Does the facility staff implement conservation of water and energy? Give examples of behaviour that is regularly practised. |  |  |  |  | 2 | 0
|  | 2 | Does the facility implement waste reduction policies through its purchasing, for example bulk packaging, choosing items with degradable containers? If there is only centralised purchasing, choose N/A |  |  |  |  | 1 | 0
|  | 3 | Are audits conducted at least every 5 years: water audits, energy audits, waste audits? If renovations are planned, audits should be carried out, even if 5yrs has not elapsed. |  |  |  |  | 1 | 0
| Policy and planning at Government or Regional Authority level | 4 | Does the facility post flyers and signs encouraging conservation behaviour among visitors? |  |  |  |  | 1 | 0
|  | 5 | Does the facility monitor its meter readings or monthly utility bills for energy? Give an example where the bill indicated that there was a change in behaviour |  |  |  |  | 1 | 0
|  | 6 | Does the facility monitor its meter readings or monthly utility bills for water? Give an example where a leak or other malfunction was detected by this monitoring |  |  |  |  | 0.5 | 0
|  | 7 | Does the facility check these indoor environmental quality parameters in the waiting area, at least once per year, namely temperature, humidity and carbon dioxide levels? |  |  |  |  | 0.5 | 0
|  | 8 | Does the facility check these indoor environmental quality parameters in the waiting area, at least once per year, namely volatile organic chemicals from furniture and paints, particulates from dust? |  |  |  |  | 0.5 | 0
|  | 9 | Does the facility measure lighting levels so that the combination of daylight and artificial light is providing adequate light for clinical tasks and general use? Refer to table in the Smart Toolkit |  |  |  |  | 0.5 | 0
|  | 10 | Are there as-built drawings available in the facility that show the water and wastewater systems, the electrical system and any back-up power system, the fire alarm layout; and where there are fuel or medical gas pipes? If all drawings are available choose YES, otherwise NO |  |  |  |  | 2 | 0
POINTS ACHIEVED IN SECTION 1 = | [7 empty] | 0
Maximum Points Achievable in Section 1 = 10. ACTUAL TOTAL POINTS BASED ON APPLICABLE QUESTIONS = | [7 empty] | 10
Theme | Title | Question/Intent |  | Answer |  |  | Comments | Question Weight | Score achieved
|  |  |  | NA | YES | NO
Energy | 2.1 Renewable energy | 11 | Does the facility use a PV system or other type of renewable energy such as wind? |  |  |  |  | 2 | 0
|  | 12 | Does the facility have any solar powered appliances, e.g. solar pump, solar fridge, solar clothes dryer, solar air conditioning system, or even use a clothes line? |  |  |  |  | 1 | 0
|  | 13 | Is more than half of the hot water consumption powered by renewable energy? This includes the PV system, solar water heater or geothermal hot water. Consider laundry usage. |  |  |  |  | 1 | 0
|  | 14 | Is the tall vegetation trimmed regularly so that it does not shade solar panels (or block rainwater guttering)? If there are no tall trees on the compound, choose N/A |  |  |  |  | 1 | 0
|  | 15 | Is the PV system serviced by technicians at least once per year to clean electrical contacts, check wiring, batteries, and heat dissipation? If there is no PV system choose N/A |  |  |  |  | 1 | 0
|  | 16 | Are solar panels for any solar powered items cleaned at least once per year? If there are no solar panels choose N/A |  |  |  |  | 1 | 0
| 2.2 Energy efficiency and Energy conservation | 17 | Are handwash stations cold water only? |  |  |  |  | 1 | 0
|  | 18 | Do more than half of the light fixtures use low energy lighting systems (LED)? Include exit signs and exterior lights in the assessment. |  |  |  |  | 2 | 0
|  | 19 | Do you use energy efficient inverter technology, variable speed compressors and Smart Thermostats? This applies to refrigerators and air conditioning. At least half of these systems should use energy efficient technology. |  |  |  |  | 1 | 0
|  | 20 | Are air conditioning units typically set within the range 20C to 25C? Typically laboratories have a recommended setting close to 20C and consultation rooms have a recommended setting closer to 25C. |  |  |  |  | 1 | 0
|  | 21 | Are the air conditioned rooms effectively sealed to prevent leakage of cold air? Refer to the Smart Green guide |  |  |  |  | 1 | 0
|  | 22 | Is there task lighting (lamps focused on certain areas), dimmers, and individual switches that adjust lighting levels to specific needs? |  |  |  |  | 1 | 0
|  | 23 | Is there shading of all windows, doors, and walls from direct sunlight. The goal is to use natural lighting without introducing heat gain. Use artificial light only where necessary. Examples of shading elements are explained in the Smart Green guide |  |  |  |  | 1 | 0
|  | 24 | Is there any roof or external wall insulation, or are the majority of roof and walls painted in heat reflective paint or in a light colour? (PV panels help to deflect heat from the roof) |  |  |  |  | 1 | 0
|  | 25 | Are more than half of large appliances and equipment energy-efficient and water efficient rated (US/EU standards)? Consider especially refrigerators, washing machines, and sterilisers. |  |  |  |  | 2 | 0
|  | 26 | Is more than 50% of office and medical equipment plugged directly into the mains rather than using transformers? There is a tendency to purchase 110V equipment rather than 240V equipment in jurisdictions with 240V mains electricity. |  |  |  |  | 1 | 0
|  | 27 | Does the facility have occupancy sensors for fixtures in staff and patient areas? Consider lights and extractor fans. Alternatively does the exterior lighting have a photocell sensor to switch on / off? In either case, choose YES |  |  |  |  | 1 | 0
POINTS ACHIEVED IN SECTION 2 = | [7 empty] | 0
Maximum Points Achievable in Section 2 = 20. ACTUAL TOTAL POINTS BASED ON APPLICABLE QUESTIONS = | [7 empty] | 20
Water | 3.1 Rainwater harvesting | 28 | Is rainwater collected in dedicated tanks and used in facility for irrigation, external cleaning and toilet flushing? Alternatively, if wastewater is treated and recycled for these purposes, choose YES |  |  |  |  | 3 | 0
|  | 29 | Is rainwater captured by a mechanism to filter out leaves and debris (e.g. first flush diverter or leaf screens)? |  |  |  |  | 2 | 0
|  | 30 | Are all water storage tanks mosquito-proof? |  |  |  |  | 2 | 0
|  | 31 | Is the run off water from cleaning of roof-mounted equipment isolated from the rainwater collection system? Alternatively, does the use of the rainwater take into account potential contamination from the cleaning runoff? If there is no equipment on the facility roof, choose N/A |  |  |  |  | 2 | 0
|  | 32 | If the facility relies on water stored on the premises, are these water tanks flushed and cleaned annually? Is the water treated and disinfected for potable uses? Where the water is used without these precautions, tick NO. If there is an uninterrupted public mains supply tick N/A |  |  |  |  | 2 | 0
|  | 33 | If the facility relies on below-ground tanks and water wells, is there adequate protection against contamination by runoff or wastewater? If there is an above-ground water supply tick N/A |  |  |  |  | 2 | 0
|  | 34 | For facilities with fire hose reels, is non-potable water used for fire suppression? If there is no fire hose and the facility is below size 10,000sq ft tick N/A |  |  |  |  | 1 | 0
| 3.2 Water efficient equipment and practices | 35 | Does the facility use appropriate water efficient plumbing fixtures? If water pressures are low, not all fixtures are suitable. Refer to the Smart Green guide |  |  |  |  | 2 | 0
|  | 36 | Does the facility use water efficient landscaping (e.g. plant drought resistant cactus, or use drip irrigation during the dry season)? See Green Guide Chapter 3 for explanation. If there is no planting, tick N/A |  |  |  |  | 1 | 0
| 3.3 Wastewater | 37 | Is wastewater treated to tertiary level on-site by qualified personnel; or off-site in a municipal treatment plant? Refer to the Smart Green guide. Follow published guidance from PAHO WHO. |  |  |  |  | 2 | 0
|  | 38 | Are nature-based solutions (e.g reed beds, lagoons, mangrove areas) employed for tertiary wastewater polishing, or for storm drainage percolation? |  |  |  |  | 1 | 0
POINTS ACHIEVED IN SECTION 3 = | [7 empty] | 0
Maximum Points Achievable in Section 3 = 20. ACTUAL TOTAL POINTS BASED ON APPLICABLE QUESTIONS = | [7 empty] | 20
Indoor air quality | 4.1 Ventilation | 39 | Does the facility maximise its use of natural ventilation (windows and doors) taking full advantage of the prevailing winds? Certain critical areas need to be enclosed for privacy or provision of care, with mechanical ventilation, e.g. consultation rooms, operating rooms. |  |  |  |  | 3 | 0
|  | 40 | Does the facility have well-functioning exhaust fans and vents in all rooms with potential contaminants? Consider kitchens, bathrooms, boiler rooms, the autoclaving room and laundry area |  |  |  |  | 2 | 0
|  | 41 | Is there provision for air change in rooms with split unit air conditioning, either in the operating procedures or in the infrastructure? Refer to the Smart Green guide. If the air conditioning system draws air from outside, choose N/A |  |  |  |  | 2 | 0
|  | 42 | Is the facility free of mould, mildrew or efflorescence on internal walls and furniture? |  |  |  |  | 2 | 0
| 4.2 Dust/Particulate Control | 43 | Are entryway grills or mats able to capture dirt and particulates brought in from the outside? Refer to the Smart Green guide |  |  |  |  | 1 | 0
POINTS ACHIEVED IN SECTION 4 = | [7 empty] | 0
Maximum Points Achievable in Section 3 = 10. ACTUAL TOTAL POINTS BASED ON APPLICABLE QUESTIONS = | [7 empty] | 10
Theme | Title | Question/Intent |  | Answer |  |  | Comments | Question Weight | Score achieved
|  |  |  | NA | YES | NO
Hazardous chemicals and greenhouse gases | 5.1 Chemicals contributing to global warming and ozone depletion | 44 | Does the facility apply an Integrated Pest Management program, with minimal use and safe application of hazardous chemicals, applied by a trained professional on a regular basis? Resquest a report/visit log |  |  |  |  | 2 | 0
|  | 45 | Have you replaced (or phased out) any devices that contain chlorofluorocarbons (CFCs) or hydrofluorocarbons (HFCs)? Refer to the Smart Green guide (eg found in inhalers, air conditioning, refrigerators or fire suppression systems) |  |  |  |  | 2 | 0
| 5.2 Fuels and liquid-fuel powered or gas-fired equipment | 46 | Are any vehicles e.g. ambulances, staff buses or the facility's delivery vehicles electric powered, or hybrid? If transport by bicycle, motorcycle, row boats, or animal power is regularly used by a majority of staff and patients, also choose YES. Otherwise choose NO |  |  |  |  | 2 | 0
|  | 47 | Are generator engines hybrid, or using biofuels? And if not, are LPG (propane) or Natural gas (methane) used in lieu of diesel? Refer to the Smart Green guide. If any of these are applicable, choose YES |  |  |  |  | 2 | 0
|  | 48 | Are engines and fuel tanks protected to contain accidental spills? |  |  |  |  | 2 | 0
|  | 49 | Is exhaust from engines, boilers and incinerators intentionally directed to mimimise impact on people? |  |  |  |  | 2 | 0
|  | 50 | Are incinerators provided with environmentally friendly features which promote recycling and recovery of materials? If there is no incinerator tick N/A |  |  |  |  | 2 | 0
|  | 51 | Are products locally sourced where possible to reduce transportation emissions (give examples; purchases must be in such quanitity and frequency as to be at least 10% of annual budget)? |  |  |  |  | 1 | 0
POINTS ACHIEVED IN SECTION 5 = | [7 empty] | 0
Maximum Points Achievable in Section 5 = 15. ACTUAL TOTAL POINTS BASED ON APPLICABLE QUESTIONS = | [7 empty] | 15
Maintenance | 6.1 Water leaks, refrigerant leaks, fuel exhaust systems | 52 | Does the facility have a maintenance team or maintenance technician with the requisite skills? |  |  |  |  | 1 | 0
|  | 53 | Is there a well organised, documented system of routine preventive maintenance that follows manufacturer's guidance (provide records)? |  |  |  |  | 2 | 0
|  | 54 | Is there a mechanism of staff reporting defects with air conditioning, fuel systems and water systems, including leaks (consult maintenance records)? |  |  |  |  | 1 | 0
|  | 55 | Are all reported leaks repaired within a reasonable time? (consult records). Refer to the Smart Green guide. If only some leaks are promptly dealt with, tick NO |  |  |  |  | 1 | 0
|  | 56 | Is there a maintenance budget that has proved to be adequate, or are there records of delays obtaining spare parts and tools, delays due to lack of transport, or skills shortage? |  |  |  |  | 1 | 0
|  | 57 | Does the maintenance staff have adequate tools or access to the needed tools, along with a functioning workshop for carrying out their duties? If tools or workshop is lacking, choose NO |  |  |  |  | 1 | 0
|  | 58 | Is the air conditioning serviced by a professional at least annually to minimise leakage of refrigerant and to clean and disinfect the cooling coils? |  |  |  |  | 1 | 0
|  | 59 | Is fuel powered equipment serviced by a professional at least annually to maintain a clean exhaust? |  |  |  |  | 1 | 0
|  | 60 | Is low level vegetation well maintained to minimise insect pests, slippery pathways, and blocked drainage? |  |  |  |  | 1 | 0
POINTS ACHIEVED IN SECTION 6 = | [7 empty] | 0
Maximum Points Achievable in Section 6 = 10. ACTUAL TOTAL POINTS BASED ON APPLICABLE QUESTIONS = | [7 empty] | 10
Solid and Infectious Waste Managment | 7.1 Waste Minimization
|  | 61 | Use biodegradable products like paper, cardboard and plant-based products instead of plastics and Styrofoam in kitchens? |  |  |  |  | 1 | 0
|  | 62 | Efficient stock management of medication and vaccines to avoid expiration |  |  |  |  | 1 | 0
|  | 63 | Compost organic and food wastes (or donate to others). If there is no kitchen for staff or patients, choose N/A |  |  |  |  | 1 | 0
| 7.2 Waste collection, storage and disposal | 64 | Do you separate different types of healthcare waste at source, and store in colour coded bags or containers? |  |  |  |  | 2 | 0
|  | 65 | Is non hazardous healthcare waste safely stored and transported within reasonable time? Refer to the Smart Green guide. |  |  |  |  | 2 | 0
|  | 66 | Do you offer segregated waste for recycling using coloured containers, labelled according to national standards? |  |  |  |  | 2 | 0
|  | 67 | Are all of these items treated as hazardous (mercury) waste and carefully removed and disposed of? Fluorescent tubes & batteries, measuring devices containing mercury. |  |  |  |  | 1 | 0
|  | 68 | Do you utilise mercury amalgam separators, and is mercury amalgam safely disposed of? If there is no Dental service, choose N/A |  |  |  |  | 1 | 0
|  | 69 | Do you treat (neutralize, sterilize, incinerate) and safely dispose of solid, liquid and gaseous hazardous healthcare waste? (e.g. infectious or radioactive material). |  |  |  |  | 2 | 0
|  | 70 | Do companies servicing equipment or in-house maintenance unit dispose of waste responsibly, e.g. oil from engines, wet cell batteries, damaged PV panels, coolant from air conditioning? |  |  |  |  | 2 | 0
POINTS ACHIEVED IN SECTION 8 = | [7 empty] | 0
Maximum Points Achievable in Section 8 = 15. ACTUAL TOTAL POINTS BASED ON APPLICABLE QUESTIONS = | [7 empty] | 15
TOTAL MAXIMUM POINTS AVAILABLE = 100. ACTUAL TOTAL MAXIMUM POINTS BASED ON APPLICABLE QUESTIONS = | [7 empty] | 100
TOTAL POINTS ACHIEVED | [7 empty] | 0
MINIMUM TOTAL POINTS NEEDED FOR CERTIFICATION (MINIMUM = 70%) = | [7 empty] | 70
ACTUAL % RATING ACHIEVED FOR THIS FACILITY = Totatl Actual Points Achieved / Actual Total Maximum Points = | [7 empty] | 0%
Items are essentials
N/A scores points

## Results
Category | Points Available | Points Attained
Documentation | 10 | 0
Energy | 20 | 0
Water | 20 | 0
Indoor Air Quality | 10 | 0
Hazardous Chemicals and Greenhouse gases | 15 | 0
Maintenance | 10 | 0
Solid and Infectious Waste Management | 15 | 0
Total Points | Green Points
Max. possible points available | Min. required | Actual
100 | 70 | 0